## Sheet1
Chaleff & Rogers Architects
Project Name | [6 empty] | Date: | DATE
Section 405 - Simulated Performance Alternative |  |  |  |  | 1319.5 |  |  | 1st Floor Sq. Ft. = | 987.83
NEW YORK STATE ENERGY CONSERVATION CODE COMPLIANCE | [7 empty] | Other Floors Sq. Ft. = | 569.74
[8 empty] | Total Sq. Ft. of Conditioned Space = | 1557.57
PERCENT GLASS FOR PROPOSED BUILDING
| Total Sq. Ft. of Glass Area | 452.8 | 22.8918 | % Glass |  | Building Heat Loss | 22827.1367 | 14.6556 | BTUH
| Total Sq. Ft. of Gross Wall | 1978 |  |  |  | Gross Conditioned Sq. Ft. | 1557.57 |  | Sq. Ft.
Heat Loss Calcs. for Min. Code Compliant Building |  |  |  |  | Heat Loss Calculation for Proposed Building
|  |  | 15% Glass = | 296.7
BUILDING COMPONENT | AREA | U | t | BTUH | BUILDING COMPONENT | AREA | U | t | BTUH | Rounded #'s for Proposed | Rounded #'s for Min. Code
SKYLIGHT (Max. 1% of Total Roof Area) | 13.195 | 0.6 | 70 | 554.19 | SKYLIGHT | 0 | 0.33 | 70 | 0 | 0 | 554
OPAQUE ROOF | 1319.5 | 0.03 | 70 | 2770.95 | OPAQUE ROOF "A" 12.25" SIP R=46 | 1319.5 | 0.022 | 70 | 2032.03 | 2032 | 2771
|  |  |  | 0 | OPAQUE ROOF "B" | 0 | 0.025 | 70 | 0 | 0 | 0
WINDOWS/DOORS | 296.7 | 0.35 | 70 | 7269.15 | WINDOWS / DOORS | 452.8 | 0.28 | 70 | 8874.88 | 8875 | 7269
OPAQUE WALLS | 1681.3 | 0.082 | 70 | 9650.662 | OPAQUE WALLS "A" 4.5"SIPs R=16 | 1525.2 | 0.063 | 70 | 6726.132 | 6726 | 9651
|  |  |  | 0 | OPAQUE WALLS "B" | 0 | 0.038 | 70 | 0 | 0 | 0
|  |  |  | 0 | OPAQUE WALLS "C" | 0 | 0.038 | 70 | 0 | 0 | 0
FLOOR | 1014.75 | 0.047 | 70 | 3338.5275 | FLOOR "A" R=18 | 987.83 | 0.056 | 20 | 1106.3696 | 1106 | 3339
|  |  |  | 0 | FLOOR "B" under bath 4.5" SIP R=16 | 26.92 | 0.063 | 70 | 118.7172 | 119 | 0
INFILTRATION @ 1 ACH = | VOLUME (CU. FT.) | ACH n | 70 | 7938.0159 | INFILTRATION = | VOLUME (CU. FT.) | ACH n | 70 | 3969.0079 | 3969 | 7938
| 18000 | 0.35 |  |  | ( Cu. Ft. / 60 ) * 1.08 * ACH | 18000 | 0.175 |  |  | 0 | 0
SUBTOTAL (Building Heat Loss) |  |  |  | 31521.4954 | SUBTOTAL (Building Heat Loss) |  |  |  | 22827.1367 | 22827 | 31521
12% PICKUP |  |  |  | 3782.5794 | 12% PICKUP |  |  |  | 2739.2564 | 2739 | 3783
TOTAL for HVAC Sizing |  |  |  | 35304 | TOTAL for HVAC Sizing |  |  |  | 25566 | 25566 | 35304
Min. Code Compliant Building | BTUH | Hrs. | Delta T | Deg. Days | Proposed Building | BTUH | Hrs. | Delta T | Deg. Days
Estimated Total Annual BTU's req'd | 31521.4954 | 24 | 70 | 5750 | Estimated Total Annual BTU's req'd | 22827.1367 | 24 | 70 | 5750
(based on the following variables):
|  |  | Total annual BTU's | 62142376.5984 |  |  |  | Total annual BTU's | 45002069.5692
15% GLASS IS THE MAXIMUM ALLOWABLE FOR 6000 DEGREE-DAY REGION (CODE MIN.). |  |  |  |  | Estimated Annual Heating Cost (based on the following variables):
INCLUDES OTHER FLOOR AREAS THAT ARE IN CONDITIONED SPACE. |  |  |  |  | 1 gal. propane produces BTU's | Number of gals needed annually | Boiler Efficiency | Price /gal. | Annual heating cost
FLOOR = BOTTOM CLOSURE OF THERMAL ENVELOPE. | [9 empty] | 1 / Boiler efficiency
TABLE IS FOR MINIMUM CODE COMPLIANT BUILDING OF LESS THAN 5000 SQ. FT. |  |  |  |  | 91600 | 491.289 | 0.94 | 2.75 | 1437.2816 | 1.0638
NATURAL AIR CHANGES PER HOUR. WITH THE USE OF AN ASSUMED 50% EFFICIENT HRV (HEAT RECOVERY VENTILATOR). | [8 empty] | This does NOT take into account any passive solar gains
NOTE TO USER: This spreadsheet has been created to assist in the designing of energy efficient buildings. Chaleff & Rogers, Architects, P.C. is NOT responsible or liable for any errors incurred by the use of this spreadsheet.
NOTE TO USER: This spreadsheet has been created to assist in the designing of energy efficient buildings. Chaleff & Rogers, Architects, P.C. is NOT responsible or liable for any errors incurred by the use of this spreadsheet.
Compute natural infiltration by dividing ACH50 by 20 (approximate)
=
=
=
Sq. Ft.
Total Roof Area (Sq. Ft.) =
=
CRA Energy Calcs Ver. 2.4 Feb 17, 2016
Apr 7, 2011
1
3
3
2
4
5
1
2
3
4
5
Note on B3: Type Project Name & Number
Note on L5: 1st Floor Area
Note on L6: 2nd Floor Area + other floor sq ft
Note on K22: Change in temp. between 1st floor and below.
Note on K23: Change in temp. between floor and space below.
Note on I25: Volume of Conditioned Space
Note on J47: ADJUST TO PROPOSED BOILER EFFICIENCY
Note on K47: ADJUST FOR CURRENT FUEL PRICES